Polarimetry and Optical Rotation:

Observing Twisted Chemistry

1. Introduction

As already discussed in your lab manual’s chapter on Stereochemistry,

molecules are divided into two camps: those without paws (hands), and those with.

Those with are referred to as chiral.

In Greek, that’s written , but is

pronounced `kheir’. Unsurprisingly,

this means hand. It just looks more

technical and geeky in pidgin Greek.

Cat exhibiting chirality

I would have preferred podiality since

in Greek paws is written  and pronounced podia. Not enough cat lovers among chemists, alas.  Anyways, your lab manual has thoroughly covered the models, language and its importance. I’m going to concentrate on something else.

Specifically, how do you observe chirality in the flesh and out in the wild?

2. The Main, Measuring Gadget: the Polarimeter

Like a lot of things in chemistry, just mechanically measuring something is often a whole lot easier than explaining what got measured. So, let’s just start with how we empirically detect the presence of a chiral molecule with the doohickey that does the detecting: the polarimeter.

Figure 1 captures the basic idea. FYI, it hasn’t really changed much in design since 1850 when chemist Jean-Baptiste Biot jiggered up one of the first polarimeters using a candle source to look at things like sucrose dissolved in water and turpentine.

Figure 1: Schematic of Classic Polarimeter Design

B

A

Na-D line filter

Here’s how it works.

White light from the light bulb (or candle) is first filtered through a `Na- D’ line filter to produce a single (monochromatic) wavelength at 589.3 nm, the color of dandelions (and urine.)

This yellow light, still not `linearly polarized’, is then passed through a `Polarizer’ which selects out only yellow light vibrating in the plane of the page and perpendicular to the direction of the light beam as seen at A.  Now it’s linearly polarized.

The filtered, linearly polarized light at A next travels down a tube (the Polarimetry cell) filled with a solution of chiral molecules (the `analyte’).  By the time it completes the trip, the orientation of the light’s polarization has rotated away from the initial orientation at A to become B because of an (as-yet-to-be-explained) interaction with the chiral molecules. This doesn’t happen if the molecules aren’t chiral.

To detect the rotated light coming out, you pass the light through another polarizer identical to the first (but called the Analyzer) and turn it until the angle it makes with the vertical (defined by the initial Polarizer) matches the angle, ,  the beam makes with it at position B.  If  is not zero, the analyte is chiral. If  = 0, the analyte is achiral.

No I phone!

Just eyes!

Note that the `detector’ for all of this is not some fancy,

whiz-bang I-Phone app, but the good, old human eye.

In early polarimeters the eye recorded only blackness

or weak light until  was attained by turning the Analyzer.

At , however, yellow light blazed forth unfiltered

through the Analyzer.

A sketch of what you might have seen in these first instruments if you lived back in 1850 is drawn in Figure 2, where we assume  = +10.0o .(The  `+’ means you have turned the Analyzer clockwise from the initial perpendicular defined by the Polarizer. Obviously then, ‘-‘ means a counterclockwise rotation). Here,  is the experimentally adjusted angle between Polarizer and Analyzer.

Figure 2: What the Eye Would See Through a Simple Polarimeter  vs. :   = +10o

0o			+5o		 +10o			+15o		   +20o

The +/- sign of the angle  is an intrinsic property of any chiral molecule, like  maleness or femaleness.  Reproducing the limonene molecules from page 70 of your lab manual you can see the (+/-) embedded in the names for both.

R-(+)-Limonene				S-(-)-Limonene

The R-(+)-Limonene will reliably cause the polarization to twist clockwise in the polarimeter, while L-(-)-Limonene will always make it twist counterclockwise. No sex changes allowed! Be careful not to assume R always implies (+) and S always implies (-)!

Lactic acid comes in R and S forms too, but their official names, as seen below, reverse the (+) and (-) relative to R and S. The two designations (+,-)  and (R,S) are completely independent of each other.

S-(+)-Lactic Acid		R-(-)-Lactic Acid

3. Specific Rotation: DT

So far, the angle  described above was measured without  reference to the experimental conditions of the analyte in the polarimetry cell. We didn’t specify either a concentration, C, of the chiral compound, nor how long, d, the cell is. But it figures they have to matter. In fact, both change the observed value of  in sensible ways.

The higher C is, the more the observed angle  increases since there’s more chiral material interacting with the light. A longer cell (d increasing) also increases the polarization angle since the light spends more time traveling (and twisting) through the analyte.

There’s also the identity of the chiral analyte to consider. Everything else being equal, some chiral molecules twist the tail of the polarized light harder than others. This molecule-specific characteristic, independent of C or d, is called the specific rotation, DT, where the subscript D makes explicit reference to the use of the Na-D (589.3 nm) wavelength .The superscript T is the  reference temperature (usually 20o-25o C) . The specific rotation is obtained from the measured  via 1:

1				DT  =  (in degrees) at T

d(dm) *C(g/mL)

(If you don’t remember, 1 dm= 0.1 M=10 cm, which is the usual length of polarization cells.) Table 1 illustrates the wide range of DT various sugars exhibit.

Table 1: Specific Rotations, DT , at T=20oC for Selected Sugars1

| sugar | DT(o dm-1 mL g-1) |
| --- | --- |
| D-glucose | +52.7 |
| D-fructose | -92.0 |
| sucrose | +66.5 |
| D-ribose | -23.7 |
| lactose | +52.3 |
| L-arabinose | +104.5 |
| L-sorbose | -43.4 |
| maltose | +136.0 |

1CRC 77th edition

4.  Why Polarization Happens

Noooooo ! Don’t’ do it !

If you aren’t curious to explore the details of why

linearly polarized light gets rotated by chiral

molecules, skip right over this section, loser.

In fact, most Organic texts and lab manuals do

exactly that.  It’s really more a Physics thing

and, to be honest, before I wrote these little

Organic technique chapters, I didn’t know why

polarization happened either. But curiosity

doesn’t always kill the cat (or the student.)

At least, I hope so.  Here goes.

Key to the whole business is refractive index, n. If you’ve had the right Physics classes you know that n is a unitless measure of how much a specific material slows down the speed of light through it compared to vacuum. Succinctly:

2				n = c/v

The c is the speed of light in vacuum, and v is the speed of light through some substance like glass. The value of c is always > v, so n is always > 1.

Without going through the proof (leading to Snell’s Law), when there is change in refractive index as light travels through two different media, the difference in indexes causes the refraction effect. It’s what causes part of the pencil in Figure 3 to appear magically offset in the water versus where it is in the air above.

Figure 4:  Incident and Refracted Angles of

Light Going from Lower to Higher n

Figure 3: Refraction Effect

Figure 4 shows how the light’s trajectory changes moving from air to water. The key idea to grasp is that as the light travels from lower to higher refractive index, the light bends towards the normal to the air-water boundary.  Of course, the fish doesn’t know squat about refraction. Her eyes simply follow the light rays she sees back in a straight line, placing an apparent cat above where the real cat is.

This `bending’ towards the optical normal as light passes from lower to higher index underlies a similar refractive index effect for our chiral molecules.

The above pictures tacitly assume materials without chirality, so the light beam’s polarization remains unchanged whether in air or water.  To explain how light’s polarization `tips’ right or left through a chiral substance, it is common to view the original plane polarized light in Figure 1, as the vector sum of two perpendicular and `circularly’ polarized (and spinning) components, as drawn in Figure 5.

Plane Polarized Light

right handed circular wave

left handed circular wave

Figure 5: Plane-Polarized Light and Its’ Left handed and Right handed

Circularly Rotating Components.

Now as long as both the left and right hand	circulating waves move with equal but opposite rates of spin around the central axis, their sum leaves the Plane Polarized Light unchanged in orientation. This is the situation with achiral media.

But let’s say the light in Figure 5 encounters a right handed chiral molecule going from air into the analyte cell. Just as in the simple refractive index case, the index of refraction for the right handed circularly polarized light will be higher than it is for the left handed circular light. That is, the right-handed polarization rotation rate will spin slower than that of the left hand polarization.

It’s sort of like the right-handed circularly polarized light is stopping to give high fives to all its’ right handed molecular buddies

as it moves through while the left handed

circularly polarized light does less of this kind

of fraternizing.

Analogous to the simple refraction effect,

this means the slower rotating (E+)

right-handed polarization component bends

towards a normal, defined by the x axis

Figure 6:   Circular Birefringence:

Differential Circularly Polarized

Refraction

in Figure 6.

Since the net magnitude of the plane polarized

light can’t change here,  the (E-)

left-hand

polarization gets dragged clockwise as the

right hand polarization rotates in positive

direction towards the normal as seen in the

right hand panel of Figure 6.

Another way to think about the effect is

to imagine that the two oppositely polarized

circular light waves are like the left and right

front wheels on a front wheel drive car.

If both are turning at the same rate, then you’ll stay on the straight and narrow

(no polarization).  However, if the right wheel is rotating slower, your car will start to `pull right’ and drag you off the straight and narrow. Likewise, a slower, left-spinning front wheel drags you left. In physics-speak, the difference in speeds creates a `phase shift’, which is a fancy way to express the fact that you just drove off the road into a ditch, or, into an on-coming semi.

The difference in left and right handed circularly

polarized light’s refractive indexes is called

circular birefringence by we true nerds.

Now, if you’re still with me, and even started to Google stuff about the effect, you may encounter a related but distinct phenomenon involving our left and right handed circular light components called circular dichroism.

This is an effect wherein left and right handed circular light absorbs in the material differently.  If you get into that, then Figure 6 gets a make-over and ellipses appear as seen in Figure 7.  Now, the net linearly polarized light vector can change magnitude, unlike the situation in circular birefringence, where no absorption is present so the vector sum stays fixed in length.

Figure 7:  Circular Dichroism:

Differential Circularly

Polarized  Absorption

You can see that EL + ER has changed length

in the right hand panel of Figure 7 from its’

initial condition on the left. In this example,

the right handed circularly polarized

light is being absorbed more than the left hand

circularly polarized light: ER < EL.

What we would see in our polarimeter would,

however, be similar to what we would see with

circular birefringence, e.g. a polarization angle

0 except that the intensity of light at the

Analyzer would be reduced, since absorption

incident light		      exiting light

is occurring.

Now if you went that far into looking things up, you’ve got a serious problem and need help. Take a breath now, then go pet a cat.

Ist sehr  gut !

5. Practical Notes on Measuring

Alfred’s lone polarimeter is a venerable device made in the

1960s by the now defunct Swiss instrument company, Kern.

Like a lot of things Swiss, it’s made well. After nearly 60

years, the `zero’ of the instrument is still spot on. The particular design of our Kern polarimeter is a `crossed Nichols’ type, which improves a bit on the optics of the original 1850 design. (More on this later in 5.3.) Figure 8 shows our instrument in the flesh.

Analyzer

Figure 8:

Alfred State’s Kern Crossed Nichol Polarimeter

Adjustable mirror

Polarizer & Na-D filter

1.0 dm cell in sample chamber

White light source

5.1. Filling the Polarimeter Cell

The standard 1.0 dm cell we use is shown in Figures 9A and 9B.

Figure 9B:

Polarimeter cell assembled

Figure 9A:

Polarimeter cell parts

1.0 dm

Threaded cell window cap

masking taped end is always left closed

Cell window

The `bottom’ of the cell (masking tape end) is always left closed. The top end is where the cell window is placed after the cell is filled with analyte. The threaded cell window cap is then carefully screwed over the top to press the window in place.

Filling the cell requires that you over fill so that a dome of the analyte solution bulges above the open cell end.  Also, no bubbles should appear anywhere inside the cell. Once this is achieved, carefully slide the cell window horizontally along the top of the cell, slicing off the dome so that no bubbles appear at the window, then screw the cell cap in place.  You need a complete column of liquid with no trapped air inside for the polarimeter to see a good image.

5.2. Setting Up the Polarimeter

To make a measurement place the source as close as you can to the adjustable mirror (as shown in Figure 8) . Next, you have to deal with our `definitely not very safe’ electrical connection to the source.  You can see what I mean in Figure 10.

Figure 10:  Our definitely not very safe

Polarimeter source switch

White Light Source

The connection to the source is through

an open knife switch. I’ve never gotten

around to

masking

tape

upgrading it. Tape it down

where you don’t have much chance of

accidentally touching it while using the

polarimeter (unless you like jolts of AC.)

Plugging it in and closing the switch turns

the light on.

Open knife switch to  AC power

To get a good measurement requires

that the light through the polarimeter

is maximized.

Here’s how you do it.

Make sure no sample cell is in the sample chamber. Close the hatch to eliminate stray light. Next, turn the Analyzer rotation wheel (see Figure 11) until the you see the red pointer  on the bottom wheel as you look through the Vernier (See Figure 12) aligned beneath  the big red 0 on the top wheel (the =0 condition.)

Next, while looking down the polarimeter eyepiece, move the adjustable mirror at the

front polarizer (and perhaps the lamp) until

the brightest possible yellow light appears across all three panels as seen through the polarimeter eyepiece. (See Figure 13.)

You’re now ready to make a measurement.

5.3 Finding

Put the cell you filled with your chiral solution into the  sample chamber and close the hatch with the Vernier angle still set at =0.  Unless you managed to put in an achiral material, what you see down the eyepiece is no longer

a continuous, yellow field across the three panels.

Your job is now to slowly and gently turn the Analyzer rotation wheel until you recover that

Vernier

Eyepiece

Figure 13: View Through Eyepiece  at =0

and Maximum Intensity with H2O

Analyzer rotation wheel

Figure 11: Viewing Portion of the Polarimeter

Figure 12: What You See Through the Vernier

continous and unbroken field.

The particular `crossed Nicols’ design of the Alfred polarimeter helps you achieve this by showing sharp contrasts between the three panels when you aren’t at the correct polarization   (the `optical zero’ ) for the sample you’ve placed in the cell.

Examples of when you are either too far negative, or, too far positive of the correct   are sketched in Figure 14, along with the desired, correct image you should see through the eyepiece. (FYI- it’s rarely as crisp and unequivocal as in the Figure below.)

Figure 14:  View Through Eyepiece of Alfred State Cross Nicols  Polarimeter

Both In and Out of Phase with Correct 1

1

alpha cat happy here

5.4. Measuring

The Vernier eyepiece is where you measure .  We’ll use the example already displayed in Figure 12, which for convenience is reproduced in Figure 15.

Figure 15: Measuring  at the Vernier

First, make sure you know whether you’ve turned the Analyzer wheel clockwise (+) or counterclockwise (-). You’ve got obvious visual clues as seen in Figure 15; the red pointer is actually pointing up at `+’, hence (duh) you turned clockwise.

Now, count the number of larger upper hash marks (which are 1o units) starting from the red upper zero to where the red pointer on the lower wheel points. You should count 4.  However, the red pointer

+4o

-0.20

+0.30

is actually slightly past the 4o hash mark.  The smaller, upper hashmarks delineate 0.5o units, so  in Figure 15 is somewhere between +4.00o and 4.50o.

To estimate the value more precisely we read the `Vernier’ scale by matching the lower hashmarks (which run in both +0.50 and -0.50o directions) to one of the hashmarks on the upper scale so that they line up with each other. This can be done on the +0.50 side (	         ), or, on the -0.50 side (	         ).

If you prefer the +0.50 side of the lower wheel to line up the Vernier, then you see that from the lower wheel 0.0, the third large hash mark on the +0.50 side of the lower wheel lines up best. The lower wheel large hashmarks are in +0.10o increments, so we add 0.30o to 4o and find that  =4.00o + 0.30o =4.30o.

Alternatively, if you prefer the -0.50 side, the lower wheel hashmarks on this side line up best with those on the upper wheel at the second large hashmark on the

-0.50 side of the lower wheel , which means a -0.20o  is added to 4.5o and we again see that = 4.50o -0.20o= 4.30o.  Before digital measurements, this `Vernier’ scale approach to achieve more decimal places was used everywhere.

One more practical note. The most common rookie mistake when measuring  is to impatiently turn the Analyzer wheel too fast left or right because you want to get it over with and get out of lab early.  Don’t rush! The patterns illustrated in Figure 14 go by deceptively quickly, often over less than a degree.

So, slow it way down, Buckwheat!  Our, observed  rarely exceed 15o.  If you are wandering around the  (30o-90o)  range you have gotten yourself seriously stuck up the wrong tree.

“Shit.”