Exercise #7 :  Crash Course in SEM basics

Chem 6614	Chemical Instrumentation

Basic Theory

7.0	Why  does  = h/mv guarantee that an SEM is better than an optical microscope ?

Mass m of electron in denominator produces a very low . Ex. If v= 2*108 m/s, m=9.1*10-31 kg, h=6.63*10-34 J s=> (m)= 6.63*10-34 J*s/(9.1*10-31 *2*108)=3.6*10-12 m 0.0036 nm

Basic Resolution and Magnification

7.1 	What is the ~minimum theoretical resolution of an SEM in nm?	____~0.002 nm________

7.2	What is the practical resolution of an SEM in nm ?		___0.1-1 nm_________

7.3.	What is the ~ practical magnification range typical of an SEM ?    __40,000-100,000X__________

b

Basic SEM Design												f

7.4  	Place the terms below (using letters) with their position on the diagram of

An SEM to the right:

- Scanning coils	b) stage + specimen	c) Magnetic lens   d) Anode					d

e) back scattered/SE electron detector		    f) electron gun

e- beam

Beam Spot geography												c

1

nm

7.5 	Indicate from what level (1 or 2)

the following electrons emit:

2

- (inelastically) back scattered electrons  2

- Secondary emitted electrons		1								c

SEM Images and add-ons

e

7.6 What two major imaging sources are used in an SEM ?

a)	________SE (secondary electron emission)_____

b)	_______BSE inelastic backscattered emission)____________________

7.7a	Of the two images collected, which is the main source of the 3D topographical pictures like those taken of a spider mite and the surface of cheese ?   SE

7.7b	Of the two images collected, which provides compositional maps of the surface, but has poor depth of field ?   BSE

7.8	What `add-on’ supplies semi-quantitative data about the elemental composition of the observed SEM spot ? (acronym and full name)   XRED (X-ray Energy Dispersion)

7.9.	What is a `scan’ of a sample across the surface called in SEM-speak ? _______raster___________

SEM sample details

The item to the right is a common sight in an SEM lab. What does do and why ?

SEM (vacuum) coater- to lay down conductive surface on non-conducting samples

(else sample is burned to a crisp)

A

B

C

Screen 1

Screen 2

7.10)	Match us with the pieces in the picture

XRED detector ___C__

Secondary electron detector ___B__

main electron focusing optics ___A___

7.11a) Which monitor is likely to show the SEM image ?

1 or 2

7.11b) Which monitor is likely connected to elemental 		  		7.11c What do I do ?

analysis ?

1 or 2

7.12) Why must biological and non-conductive samples be `coated’ with films of gold or carbon for SEM imaging ?

SEM (vacuum) coater- to lay down conductive surface on non-conducting samples

(else sample is burned to a crisp)