**Exercise #11 :**  **SEM basics**

*Chem 6614 Chemical Instrumentation*

**Basic Theory**


11.0 Why does λ = h/mv guarantee that an SEM is better than an optical microscope ?

**Basic Resolution and Magnification**

11.1 What is the ~minimum theoretical resolution of an SEM in nm? \_\_\_\_\_\_\_\_\_\_\_\_

11.2 What is the practical resolution of an SEM in nm ? \_\_\_\_\_\_\_\_\_\_\_\_

11.3. What is the ~ practical magnification range typical of an SEM ? \_\_\_\_\_\_\_\_\_\_\_\_



**Basic SEM Design**


11.4 Match the terms below with their position on the diagram of

An SEM to the right:

1. Scanning coils b) stage + specimen c) Magnetic lens d) Anode

e) back scattered electron detector f) electron gun

**Beam Spot geography**



e- beam

11.5 Indicate from what level the following electrons

nm

emit:

1. Auger electrons
2. (inelastically) back scattered electrons
3. Secondary emitted electrons

**SEM Images and add-ons**

11.6 What two major imaging sources are used in an SEM ?

a) \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

b) \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_


11.7a Of the two images collected, which is the main source of the 3D topographical pictures like those taken of a spider mite and the surface of cheese ?

11.7b Of the two images collected, which provides compositional maps of the surface, but has poor depth of field ?

11.8 What `add-on’ supplies semi-quantitative data about the elemental composition of the observed SEM spot ?

11.9. What is a `scan’ of a sample across the surface called in SEM-speak ? \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**SEM sample details**



The item to the right is a common sight in an SEM lab. What does do and why ?

11.10) Match us with the pieces in the picture

**C**



XRED detector \_\_\_\_\_

Sample port to vacuum \_\_\_\_

Secondary electron detector \_\_\_\_\_

Monitor 2

**D**

main electron focusing optics \_\_\_\_\_\_

**B**

11.11a) Which monitor is likely to show the SEM image ?

1 or 2

11.11b) Which monitor is likely connected to elemental analysis ?

Monitor 1

1 or 2

11.12) Why must biological and non-conductive samples be `coated’ with films of gold or carbon for SEM imaging ?