Exercise #11 :   SEM basics

Chem 6614	Chemical Instrumentation

Basic Theory

11.0	Why  does  = h/mv guarantee that an SEM is better than an optical microscope ?

Basic Resolution and Magnification

11.1 	What is the ~minimum theoretical resolution of an SEM in nm?	____________

11.2	What is the practical resolution of an SEM in nm ?		____________

11.3.	What is the ~ practical magnification range typical of an SEM ?    ____________

Basic SEM Design

11.4  	Match the terms below with their position on the diagram of

An SEM to the right:

- Scanning coils	b) stage + specimen	c) Magnetic lens   d) Anode

e) back scattered electron detector		    f) electron gun

e- beam

Beam Spot geography

nm

11.5 	Indicate from what level the following electrons

emit:

- Auger electrons

- (inelastically) back scattered electrons

- Secondary emitted electrons

SEM Images and add-ons

11.6 What two major imaging sources are used in an SEM ?

a)	___________________________

b)	___________________________

11.7a	Of the two images collected, which is the main source of the 3D topographical pictures like those taken of a spider mite and the surface of cheese ?

11.7b	Of the two images collected, which provides compositional maps of the surface, but has poor depth of field ?

11.8	What `add-on’ supplies semi-quantitative data about the elemental composition of the observed SEM spot ?

11.9.	What is a `scan’ of a sample across the surface called in SEM-speak ? __________________

SEM sample details

The item to the right is a common sight in an SEM lab. What does do and why ?

C

11.10)	Match us with the pieces in the picture

XRED detector _____

Sample port to vacuum ____

Monitor 2

D

Secondary electron detector _____

main electron focusing optics ______

B

11.11a) Which monitor is likely to show the SEM image ?

1 or 2

11.11b) Which monitor is likely connected to elemental analysis ?

Monitor 1

1 or 2

11.12) Why must biological and non-conductive samples be `coated’ with films of gold or carbon for SEM imaging ?