**EXAM #1: Chemical Instrumentation 6614 Spring 2017 \_\_\_/106**

Your name:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ 1 pt

* 1. **The Solution is… (16 pts total) show work please !**

a) 1 ppm is defined as: (circle one answer) (1 pt)

 i) 1 g/1 L ii) 1 mg/100 mL iii) 1 mg/1 L iv) 1 μg/ 1 L

1. You must prepare a 5.0 L aqueous solution of 0.002347 M Cu2+  from CuCl2\*2H2O (MW=170.44 g/mol) How many grams (to the nearest 0.001 g) of CuCl2\*2H2O must be weighed out to create this solution ? (5 pts)

 grams CuCl2\*2H2O=\_\_\_\_\_\_\_\_

1. You have a 1.0 L solution of 246.93 ppm Ni2+ (w/v) How many grams ( to the nearest 0.001 g) of NiCl2\*6H2O (MW=237.69 g/mol) were dissolved in the 1.0 L solution to reach this concentration ? The atomic mass of Ni =58.693 g/mol. ( 5 pts)

grams of NiCl2\*6H2O =\_\_\_\_\_\_\_

 d) A 5 mL volume HCl originally 2.0 **M** in concentration is diluted to 1 L with distilled water to make a stock HCl solution. A 2 mL volume of this prepared stock is then delivered to a 500 mL volumetric flask to make an intermediate stock. Finally, 2.5 mL of the intermediate stock are rediluted to a total of 25 mL in a 25 mL volumetric flask to make the final `standard’ HCl .

What is the concentration of the final standard HCl in μ**M**  (micro moles/L). ( 5 pts)

 Final standard HCl concentration = \_\_\_\_\_\_\_\_\_\_μ**M**

\_\_\_/17 includes name

* 1. **Fitting Rewards (17 points) 2/6**

a) The following absorbances (A) are recorded for known concentrations of Cu2+ at 800 nm with a UV-VIS spectrophotometer. An unknown sample of Cu2+ yields an absorbance at 800 nm of 0.138.

a) What is the best fit (linear regression) line of Afit vs. [Cu2+] at 800 nm ? (4 pts)

**Afit =**

b) To the nearest 0.001 M, what is the unknown Cu2+ concentration ? (3 pts)

**Unknown Cu2+ concentration = \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_M**

|  |  |
| --- | --- |
| [Cu2+], M | A(at 800 nm) |
|  0.000 | 0.000 |
| 0.020 | 0.180 |
| 0.040 | 0.368 |
| 0.060 | 0.560 |
| 0.080 | 0.640 |
| 0.100 | 0.930 |

b) A calibration of Cu standard additions (**N**) vs absorbance **A** at 352 nm using the AAS yields the fit below. Given that the standard addition volume is 5 mL and that one ( (1) standard addition volume of the unknown Cu is in each of the 25 mL volumes containing the calibration standards, what is the concentration of the unknown Cu solution ? **Assume the reference concentration of the intermediated standard Cu is 20 ppm**

**A = 0.125\*N + 0.0625**

 **Unknown Cu2+** concentration = \_\_\_\_\_\_\_\_\_\_\_\_\_ppm (3 pts)

 c) The following fits are found for Cu and Ni standards using the Lambda 25 UV-VIS spectrophotometer.

*Copper coefficients* *Nickel coefficents*

(m=slope b=intercept)

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Wavelength | mCu | bCu | mNi | bNi |
| λ1=400 nm | 0 | 0 | 5.00 | 0.0 |
| λ2=800 nm |  8.00 | 0.0 | 0.40 | 0.0 |

A mixture of Cu and Ni in an unknown solution produce the observed absorbances, A1 and A2 below: (where above coefficients represent fits of general form: A= m[Cu or Ni] + b)

The observed unknown A1 (at 400 nm) = 1.00

The observed unknown A2 (at 800 nm) = 0.88

Set up the two equation, two unknown system you would have to solve given that **x**= [Cu2+] M and **y** = [Ni2+] M using the coefficients above and the given unknown absorbances A1 and A2.

 **EQUATIONS HERE (3 pts)**

**A1 (400 nm) = 1.00 =**

**A2(800 nm) = 0.88 =**

Use the above equations to solve for the concentrations of Cu2+ =x and Ni2+ = y (4 pts)

 **x=[Cu2+] = \_\_\_\_\_\_\_\_\_\_M y=[Ni2+]=\_\_\_\_\_\_\_\_\_\_ M**

**\_\_\_/17**

* 1. **What Every Atomic and UV-VIS Spectroscopy Geek should know…( 39 pts) 3/6**
1. Acronym for the source of an AAS \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_
2. New school transducer that converts light to current in Lambda 25 UV-VIS\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_
3. Acronym for older transducer that converts light to current in Lambda 4B UV-VIS \_\_\_\_\_\_\_
4. UV source of a UV-VIS spectrophotometer\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_
5. What `gadget’ divides up the incoming source beam in a double beam UV-VIS into a reference and a source signal \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ (hint: it looks like a propeller)
6. ICP stands for… \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_
7. UV-VIS cell material that provides the best (most expensive) window into the UV\_\_\_\_\_\_\_\_\_\_
8. What is the `cell’ containing the sample analyzed in an AAS ? \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_
9. Name for the traditional `circular’configuration of an ICP ? \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

10) Hyphenated name for UV-VIS beam path configuration: \_\_\_\_\_\_\_\_\_\_\_\_\_\_-\_\_\_\_\_\_\_\_\_\_\_\_\_

11) Grating design in modern ICP \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ (rhymes with gazelle)

12) Achilles heel of AAS method \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

 13) Name two advantages an AAS has over a UV-VIS for element analysis:

1. \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_
2. \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

 14) Atomic spectroscopy method of choice for small sample sizes: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

 15) New-fangled grating used in Lambda 25 that simplifies optical path: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

 16) Name two advantages of ICP over AAS for element analysis:

1. \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_
2. \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

 17) Item in an AAS that atomizes the sample so it can be burned: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

18) Which are the double beam instruments below ? (circle all that apply, 2 pts)

Lambda 4B UV-VIS Spec 20 PE 200 AAS ICP

19) Russian sounding graphite sample holder for HGA: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ platform

20) Correct order for Electrothermal analysis:

* 1. flash- ash- dry b)dry-flash- ash c)dry-ash-flash d)flash-dry-ash

21) For higher scan rate in a uv-vis:

a)increase slit width b) decrease slit width c) shorten wavelength range d) increase PMT gain

 22) Which technique is based on emission lines ? \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

23) Source and cell in an ICP:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

24) AAS and uv-vis both involve excitation of: (circle one)

a)vibrations b)rotations c)spin flips d)electrons

\_\_\_/27

**1.3. What Every Atomic and UV-VIS Spectroscopy Geek should know…(continued) 4/6**

25) Name for device that selects wavelength\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

26) The AAS requires that the sample elements become \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_in the flame.

27) What is the ~ temperature in an AAS flame ? 200 C 1200 C 2200 C 10,000 C

28) What is the ~ temperature in an ICP flame 200 C 1200 C 2200 C 10,000 C

29) What is the gas excited in both ICP and HCL ? \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

30) What part of the uv-vis instrument helps us reduce noise by phase locking to it?\_\_\_\_\_\_\_

 31) Which is more sensitive: ICP or UV-VIS ? \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

32) What is the source for the visible part of the light in a UV-VIS spectrophotometer?

 \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

 33) The following plot is obtained for a calibration of an AAS standard addition of Ni with an

 unknown. What’s wrong and what error is likely to have occurred during the solution

 preparations ?

What’s wrong here ?

 A

 A= 0

 0 1 2 3 4 =N N= # std additions of 10 ppm Ni

35) For a mixture of 6 unknowns how many calibration plots are necessary to solve for the

 unknown concentrations using a UV-VIS analysis ? \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

36) For a mixture of 6 unknowns how many calibration plots are necessary to solve for the

 unknown concentrations using AAS analysis ? \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

* 1. **IR Basics (31 pts/1 pt each, except where noted)**

1.) The diagnostic region measures what basic vibrational motion ?\_\_\_\_\_\_\_\_\_\_\_\_\_

2.)The IR effect requires either a \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ or a \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

3.) The fingerprint region measures what basic vibrational motion ?\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

4.) If you have a 10 atom, non-linear molecule, how many vibrations are possible?

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ (a number)

5) Does CO2 have an active IR band ? Yes No 1 pt

\_\_/17

**IR Basics (continued) 5/6**

6.) What is the `heart’ of an FT IR ?

 \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

7.) Name the two fundamental (not technological) advantages of FTIR vs. dispersive IR

i)\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

ii)\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

8.)The basic IR effect involves \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ transition in the \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_electronic state (1 pt each)

9.) The abbreviation vs br stands for: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

10.) The correct order of analysis typical for a dispersive IR spectrophotometer is:

a) source🡪 sample and reference🡪 slit🡪 chopper🡪 monochromator🡪 detector

b) source🡪 slit🡪 chopper🡪 sample or reference🡪 monochromator🡪 detector

c) chopper🡪 source🡪 sample or reference🡪 monochromator🡪 detector

d) monochromator🡪 source🡪 chopper🡪 sample or reference🡪 detector

11.) A strong, broad band near 3450 cm-1 is what molecular motion ? \_\_\_\_\_\_\_\_\_\_\_\_\_\_

12.) strong sharp doublets just below 3000 cm-1 is what molecular motion ? \_\_\_\_\_\_\_

13.) Key frequency indicative of a C=O (carbonyl) stretch: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ cm-1

14.) The IR below is best assigned to what molecule listed below the IR ? (circle choice)

1600

3000

1500



I am: (2 pts)

\_\_\_/12

**IR Basics (continued) 6/6**

15) what device in a dispersive IR is `moved’ to balance the reference and sample sides

 of the instrument ?

a) monochromator b) chopper c) beam splitter d) reference attenuator e)mirror

16.) What device in a dispersive IR is responsible for moving the device in question 15 ?

a) beam splitter` b) chopper c) attenuator d) synchronous motor e) tuning rectifier

17.) What sampling technique allows us to avoid use of KBr pellets for solid samples ? (can be an acronym) \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

18.) What physically scans in an FTIR?

a) beam splitter b) moving mirror c) monochromator d) laser interferogram

19.) A weak FTIR signal exhibits a signal to noise ratio, S/N of 2 after 50 scans. How many scans are necessary if you want to improve the S/N to 40? \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_scans (3 pts)

20) Acronym for the detector in ASC’s FTIR\_\_\_\_\_\_\_\_\_\_\_\_

21) The signal physically recorded by our FTIR is a measurement of the \_\_\_\_\_\_\_\_\_\_\_

 spectrum which occurs in the \_\_\_\_\_\_\_\_\_\_\_ domain.

22) FT in FTIR stands for \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

23) Old school thingie you make to look at solid samples that involves a press and stainless

 steel die \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

24) What is being protected by putting a dessicant inside the housing of our FTIR ?

 \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

25) Any day doing chemical instrumentation is a \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_day.

\_\_\_\_/14