HPLC chromatographic conditions and chromatogram for Chemical Love Story

Section 2.7 chapter 8

Flow rate of 70:30 methanol:water carrier phase = 1ml/in

Schedule for isocratic run

0 	1 minute hold

1	3 minute scan

2	1 minute post run

Column = C-16, 3 cm guard 5u porosity Supelco

Injection volume = 20 uL into 20 uL loop

(nm) = 280 nm at 0.001 sensitivity

File: chem6614:\poorjack#1sample S.d

Abs

Integrated Area of S= As=4670

tr  = 1.01 min

0			1		   2		     3 minutes