Take-Home Exam Answer Sheet					______/80 points total

Your name: ______________________________________________

Chemical Love Story: 2.1 chapter 1							____/8 pts

Table 1:  Standard Cu and Ni Solutions for UV-VIS Analysis of an Unknown Mixture of Cu and Ni made by Jack

| Standard # | Cu(II) moles/L | Ni(II) moles/L |
| --- | --- | --- |
| 0 | 0 | 0 |
| 1 |  |  |
| 2 |  |  |
| 3 |  |  |
| 4 |  |  |

| mL unknown added | # Standard Cu additions | ppm std Cu | # Standard Ni additions | ppm std Ni |
| --- | --- | --- | --- | --- |
| 5 | 0 | 0 | 0 | 0 |
| 5 | 1 |  | 1 |  |
| 5 | 2 |  | 2 |  |
| 5 | 3 |  | 3 |  |
| 5 |  |  | 4 |  |

Chemical Love Story:  2.2. chapter 2												____/6 pts

Table 2: Standard Addition Cu(II) and Ni(II) Solutions for AAS Analysis

Chemical Love Story: 2. 3. chapter 3					____7 pts

Slopes, intercepts, r2 and unknown [Cu(II)] and [Ni(II)] concentrations from Table 1

| species | m(812 nm) | b(812 nm) | r2 | m(395 nm) | b(395 nm) | r2 |
| --- | --- | --- | --- | --- | --- | --- |
| Cu(II) |  |  |  |  |  |  |
| Ni(II) |  |  |  |  |  |  |

Unknown [Cu(II)] = ________ M		Unknown [Ni(II)] = ____________M

Chemical Love Story: 2.4. chapter 4  						_____/3 pts

AAS conditions for analysis

Copper AAS conditions :   HCL lamp current_______	slit______   (nm)________

Pertinent range of linearity __________________  ppm

Nickel AAS conditions:    HCL lamp current_____         slit______    (nm)________

Pertinent range of linearity  __________________ppm

Flame composition       (fuel, oxidant and ~volume ratio): ___________________________

Scan conditions 	 pts averaged=_____   time/point= _________  delay= _________ sec

Chemical Love Story: 2.5 chapter 5					_____/6

Unknown Cu(II) concentration= _________ppm

Unknown Ni(II) concentration=__________ ppm

Chemical Love Story: 2.6  chapters 6 & 7

Identity of compound in bottle #1______________________________    ___/4 pts

Identity of impurity in bottle #1  _______________________________

Reason:									___/1 pt

Identity of compound in bottle #2______________________________   ___/4 pts

Infrared Spectral Assignments of Bottles #1 & 2 from Jill’s Side of the Medicine Cabinet

| Bottle #1 band positions (cm-1) | Mode assignment | Bottle#2 band positions (cm-1) | Mode assignment |
| --- | --- | --- | --- |

____/4							____/4

Mass Spectra Assignments of Bottles #1 and #2 from Jill’s Side of the Medicine Cabinet

| Bottle #1 mass peaks (amu) | Peak assignment | Bottle #2 mass Peaks (amu) | Peak assignment |
| --- | --- | --- | --- |

___/5							___/5

Chemical Love Story: 2.7  chapter 8 		___/8 pts total

1)	  Likely concentration of S in unknown in v/v %   ___________       (__/3 pts)

Chemical Love Story: 2.7. chapter  9		___/5

Five reasons why S is, or isn’t what Jack thinks it is (benzene) based on data provided.

1)

2)

3)

4)

5)

Chemical Love story: 2.8 chapter 10    ___/6 pts

He Flow rate: ________________ ml/min

Initial Column T_________ Final Column T______Ramp rate (if needed) ____________oC/min

GC detector type_____________________

Stationary phase  choice _______________________

Sketch of expected GC chromatogram (include times and qualitative magnitudes)

Chemical Love story: 2.9 the final chapter    ____/9  pts

- Best GC detector for permanent gases (e.g. CO2, CO, O2…)____________

- Most common  detector for MS____________________

- The three key features defining a good chromatogram_______________________

_____________________________________________________________________

- Basic relationship defining how many possible vibrations an N atom, non-planar

molecule can have: ______________________________

- What is the HETP  implied for component X given  a 48.55 ft column whose retention

Time is 50 seconds and whose width (w0.1)=2.5 seconds) ________________

- A magnetic sector mass spectrometer has a resolution of 10,000. What is the m

resolvable at 100 amu ?_____________________

- A S/N (signal to noise) ratio of 5 is achieved using 20 FTIR scans. How many scans

are needed to achieve a S/N of 100 ?___________

- What is the best GC detector for detecting aromatics ?________________

- What kind of HPLC separation is implied when the solvent is non-polar and the column is polar ? ______________________