Student______________________________________		____/50

Rubric: Experiment 1:Chem 6614	molar and standard addition preparations

___2    industry standard followed. Subsections titled

___3	Purpose: states actual desired goal and is done succinctly in full sentences

___ 9  Procedure:

___Source materials completely specified (formula, manufacturer, lot and `purity

type’, e.g. “Analyzed” or “Reagent Grade”;

____1% v/v HNO3 prep: water source and kinds of glassware to prepare this are

Mentioned.

___Molar standard prep explained succinctly and clearly

____Standard addition prep has clear rendition of dilutions used (how to make

intermediate stock ref Ni/Cu and unknown; dilutions done to make final

standard  add  series.

__/_3  Observations

___Masses of salts

___Volumes used in molar standards

___Table 0

__/_10  Calculations

___Calculations for grams of CuCl2 salt and NiCl2 salts used to make 0.05 M

stock in 100 mL

____Sample Calculations for 0.010.05 M Ni2+ and Cu2+ dilution volumes in 25

ml  (mL Stock aliquots) in Table 1 and 2

___Calculation for intermediate standard addition stock Ni2+ and Cu2+

concentrations

___Sample calculation for ppm Ni and Cu in Table 3 (a few sentences help)

___sig fig ok

___20  Results

Tables 1-3

Reference Standard addition CCu o , Cnio

___ 3 Miscellany (format,neatness, English, evidence of good faith effort)

Other Comments