Annotated Flow Scheme for Analysis: Experiment 10 – Chemical Microscopy

Step 1: Initial (Presumptive) Testing- Inorganic versus Organic

Place a medium sized drop of distilled water on a clean slide

and add a few crystals of your unknown

Sample doesn’t

dissolve

Place fresh unknown on slide and add a medium sized drop of 6M HCl

Sample dissolves

Sample doesn’t fizz=> organic

(aspirin or caffeine)

Sample fizzed

when dissolving1

Sample doesn’t fizz

when dissolving

Inorganic (NaCl )

Step 2: presumptive test for aspirin

Repeat the sequence of tests you experienced for the unknown with a bona fide sample of what you tentatively have concluded is the identity of your unknown.

It is, of course, of paramount importance that digital documentation and subsequent hard and  annotated copies of your microcrystalline observations are recorded for both known and unknown and that a careful comparison of each paired set of known and unknown results is made.

Run both caffeine microcrystalline tests

(Tests G and H: see attached)

Step 3: confirmatory tests for caffeine

Step 3: confirmatory test for aspirin

Run the aspirin microcrystalline test

(Test F: see attachment)

1the `fizzing’ and dissolution is confirmation of  carbonate (CO32-):

2H+  + CaCO3(s)  Ca2+ + H2O +CO2(g)

Aspirin (?)

Caffeine (?)

Red color doesn’t  form

Red color forms

Run the colorimetric “Marquis” test

(Test E: see attachment)

Re-crystallize a dilute sample

(Test C: see attachment)

Step 2c: confirmatory test for NaCl(s)

NaCl (?)

Run the Cl- microcrystalline test

(Test B: see attachment)

Step 2b: confirmatory test for Cl-

Run the Ca2+ microcrystalline test

(Test D:  see attachment)

Run the  Na+ microcrystalline test

(Test A:  see attachment)

Step 2: confirmatory test for Ca2+

Step 2a: confirmatory test for Na+

CaCO3

TEST A

MICROCRYSTALLINE TEST FOR Na+

Place a medium-sized drop of  concentrated H2SO4  on a slide and then add to it a drop of distilled water. Carefully add Bi2(SO4)3  solid with stirring and gentle warming until the solution appears ~saturated, as evidenced by faint cloudiness. Add just enough 1M HNO3 to cause the cloudiness to disappear.

Place 5-6 crystals of the suspected NaCl on a second slide  and add just enough concentrated H2SO4 so that a thin, damp paste is created after gently warming the sample. (This step converts chloride to sulfate). Add a drop of the Bi2(SO4)3  solution initially prepared to the paste. Warm gently at 50~60o on a hotplate.

Na+  is indicated if slender, narrow hexagonal rods or short prisms with angular ends appear singly or in star-shaped clumps.

student result 50X				 reference 1, p. 53, fig. 34

TEST B

MICROCRYSTALLINE TEST FOR Cl-

Place a medium-sized drop of distilled water on a clean slide and carefully add 3-5 small crystals of your suspected NaCl using a flat toothpick as a spatula and allow the crystals to dissolve. Place a small to medium drop of 0.5 w/v% (~0.03 M)  AgNO3 solution. Use the sharp end of the toothpick to draw a thin line of the AgNO3 solution into the dissolved NaCl.  Cl- is indicated if a white, cloudy precipitate forms, composed of  thick amorphous clumps of microcrystals  scattered among small  diffuse, small, poorly shaped  microcrystals.

Instructor result at 100X (bright field)

0.5% AgNO3 with NaCl(aq)  Fong 7/2/14  100X

TEST C

MICROCRYSTALLINE TEST FOR NaCl(s)

Put a medium-sized drop of weak (0.05 M) acetic acid on a glass slide and dissolve into it 3-5 small crystals of suspected NaCl  using a flat toothpick to deliver and stir the crystals until they dissolve.  Solution should be weak to avoid mass crystallization.

Gently dry the solution on a hot plate set to ~ 65-70 oC until a fine white `rind’ of micro-crystals appear at the outer edge of the drop. NaCl crystals should appear as strongly birefringent, cubical or rectangular-shaped crystals under dark field phase illumination.

instructor result at 100X (dark field)

TEST D

MICROCRYSTALLINE TEST FOR Ca2+

Place a drop of 6M HCL on a clean slide and add a small crystal of the suspect CaCO3(s). Place a  drop of 6M H2SO4  next to the first drop and draw together with a tooth pick.  Ca2+ is indicated

if fine micro- dendritic needles form within a few minutes at drop boundaries and in the isthmus between drops. The microcrystalline habits are discernible  at 50- 100X.

instructor result at 50X				reference 1, p. 105, fig. 70

TEST E

COLORIMETRIC (PRESUMPTIVE) MARQUIS TEST FOR ASPIRIN

Place a few drops of freshly prepared Marquis reagent ( ~ 1mL of 37 % HCHO diluted to 10 mL with concentrated H2SO4) in two wells of a ceramic spot plate.

Place a healthy dose (10-15 crystals) of your unknown into one of the two solutions and wait 1 minute. Aspirin (o-acetylsalicylic acid) is indicated if a deep rose color develops, particularly around the boundaries of un-dissolved crystals as compared to the blank Marquis reagent in the other well. Other colors occur with different materials, notably alkaloids, as shown on the right, below.

Blank and Marquis Test Result

with Aspirin Obtained In-House

Examples of Marquis Test with Other Materials

http://t1.gstatic.com/images?q=tbn:ANd9GcT8i2AvZ9XT20F8Gn6oARFQ8IXFZEEaJr-NWExhVI7YiMRy0QdT

TEST F

MICROCRYSTALLINE TEST FOR ASPIRIN

Place a medium sized drop of a 1:5 mixture of concentrated (85%) phosphoric acid and glacial acetic acid on a glass slide. Deposit a small crystal of the suspected aspirin in the drop and carefully stir and pulverize the crystal with a toothpick or small spatula until the crystal dissolves. Gently warm the solution on a hot plate set at 70-75 oC.  Aspirin is indicated if long, narrow filaments  and curls of recrystallized o-acetyl salicylic acid (aspirin)  form in a thick mat at the drop boundaries after several minutes at 50-100X.  (see also: reference 2, pg. 263(7).)

Instructor results

dark field 100X					  bright field 100X

TEST G

MICROCRYSTALLINE TEST FOR CAFFEINE

Place a medium sized drop of 5% HNO3 on a slide and completely dissolve a few crystals of suspected caffeine in the drop. Place a drop of 0.1M AgNO3 next to the sample drop and draw the two drops together with a toothpick. Caffeine is indicated if, after a few minutes dense, black fuzzy balls appear at the boundaries of the drops and in the isthmus with habits discernible at 50-100X. (See also, reference 2, p. 288 (3))

Early state							Late stage						    Bright field, 100X						Bright field, 100X

TEST H

MICROCRYSTALLINE TEST FOR CAFFEINE

Place a medium sized drop of 1% NaOH on a slide and completely dissolve a few crystals of suspected caffeine in the drop. Add powdered NaHCO3 until it no longer dissolves. Place a drop of the KI/I2  solution ((14 g KI & 4.8 g I2/100 mL water) next to the sample drop and draw the two drops together with a toothpick, then  place a small crystal of KCl in the mixture. Caffeine is indicated if, after a minute or so:

Greenish or dark red solution forms, and small, red

colored cubes appear  at 100X.(See also, reference 2, p. 97(2).)

early stages						 late stage

100 X, bright field				 100 X, bright field

- References

- E. Chamot and C. W. Mason, Handbook of Chemical Microscopy, volume II , John Wiley

& Sons  NY,   2nd edition (1931)

- C. C. Fulton, Modern Microcrystalline Tests for Drugs, Wiley-Interscience, NY (1969)

- M. P. Elie and L. E. Elie, Microcrystalline Tests for Forensic Drug Analysis,  from Encyclopedia of   Analytical Chemistry, R. A. Meyers, ed., Wiley & Sons, NY 2011

4)   J. Bronowski, The Ascent of Man, Little and Brown Inc., New York, NY, 1976