## Slide 1
A BRIEF SURVEY OF OPTICAL MICROSCOPY: PRINCIPLES AND LIMITATIONS

## Slide 2
But first, a brief detour…

## Slide 3
The first microscope circa 1609:
Galileo’s idea ~25X
But images fuzzy and poorly resolved
His telescope worked better (stars emit) so….

## Slide 4
Microscopy popularized by Robert Hooke (1635-1703): (English `polymath’ (one who studies many things)
[optics, biology, mechanics….)
First to see `cells’ *(cork study)

## Slide 5
Robert Hooke’s compound microscope
(2 lenses): ~20-25X
Cork sections
Flea

## Slide 6
Cell biology and microbiology gets off to a start with Antonie von Leewonhoek 1632-1723 Dutch fabric trader

## Slide 7
Note: lens is monocular and made by drawing high quality Dutch soda lime into a (near) sphere
(hence bi-convex)=> 70-200X magnifications !!!!!

## Slide 8
Leewonhoek’s original
‘animalcule’ drawings

## Slide 9
light speed in vacuum = c
light speed in medium = v < c
light speed in vacuum = c (max)
n= refractive index= c/v
Perpendicularly impinging light & refractive index
Vacuum or air
substance
Light beam
Plano-plano system

## Slide 10: Typical values of n
Material n=refractive index at 25 oC density (g/cm3)
vacuum 1.0000 0.0000
Air 1.0003 0.0013
distilled water 1.3330 0.9997
window glass 1.510 2.5
lead glass 1.615 2.9
HgS (cinnabar) 2.814 ( axis) 8.17
PbS (galena) 3.91 ( axis ) 7.60

## Slide 11
A
B
A
Acutely impinging light and Snell’s Law
Quantitative behavior: Snell’s law
na
nb
Air or vacuum
Glass, water….
Light bends towards perpendicular in moving from lower to higher refraction medium
(and vice versa)
Qualitative behavior
sin A/sin B= nb/ na
Plano-plano system

## Slide 12
Parallel light through plano convex and double convex lens
Focal line
Plano-Convex lens
f = focal distance
f

## Slide 13
Double convex lens
Plano-convex lens
Plano-convex versus double convex lenses
f(double) < f(plano-convex)

## Slide 14
Double convex lens in operation
Double concave lens in operation

## Slide 15: Real object imaging through double convex lens
O=object must lie outside of focal length
Real image because an actual bundle of light appears here
q
M = real image size/object size= q/f
Real images are always inverted vs actual object

## Slide 16: The first image magnifier: the simple hand magnifier glass

## Slide 17: magnifying glasses-the virtual image
Insect’s real image paints the back of your eye’s retina
f
Lens f is << 10 inches so our eyes have trouble focusing…brain `defaults’ to 10 inches and projects real image back in front of lens 10 inches from the real image on your retina
10 inches
Virtual image forms here

## Slide 18: Simple and compound magnification
M (simple) = Mo = 25(cm)/f(cm) + 1 (magnifier lens)
Insertion of a second `eyepiece’ (simple magnification = Me) to enlarge real image after initial objective magnification leads to compounding of magnification
object
objective
1st real image
Second real image (on back of eyeball)
eyepiece
Mo
Me
Virtual image
Mtotal = Mo x Me

## Slide 19
M * M * M * M.. ???
etc
Why can’t we simply stack many, many lenses on top of each other and magnify without end ???

## Slide 20: Spherical abberation
Uncorrected for Spherical aberration
Corrected for Spherical aberration
focal point different for parallel rays striking different portions of lens
Double convex only
Double convex plano correction
FYI: Before and after
Post –correction to Hubble Space Telescope

## Slide 21: Chromatic abberation
No chromatic correction
2 wavelengths corrected to third
(red & blue corrected to Na-D) = `apo’

## Slide 22: Language associated with objectives
Glass quality
E D S
Increasing quality
Field curvature corrected
=> ‘plan’
Two wavelength chromatic correction (Na-D + one other)1
Three wavelength correction (Na-D + two others)
`=apo’
=`achro’
1 Corrected to same focal pt as Na-D line (589.3 nm)
Objectives…increasing in quality
E-plan
D-plan achromat
S-plan-apochromat


(Also spherically corrected at Na-D)
(Also spherically corrected at Na-D + one other color )

## Slide 23: More language
R= resolution= 0.61 (nm) NA
NA= numeric aperture =n sin 
(measure of light gathering power)

## Slide 24
Low NA but area of lens larger=> brighter
High NA but area of lens smaller=>
darker

## Slide 25
BASIC “BRIGHT FIELD”
OPTICAL MICROSCOPE PARTS
Illuminator adjustment

## Slide 26
Older school Olympus objective markings
NA (numeric aperature)
All 3 `plan’ corrected for field curvature
Achro
(blue+Na-D)
Apo
(blue+ red + Na-D)
Apo
(green+ red
+ Na-D)
Assumed coverslip
thickness
160 mm tube length (eye-piece  objective

## Slide 27
New School objective markings (FYI- the Olympus BH-2 Phase scope objectives are `old school’)

## Slide 28: Phase contrast
Bright Field signal = deviated light +
undeviated light

## Slide 29: Phase contrast (continued)

## Slide 30: Phase contrast (continued)
Wheel marked 0,10, 20 on stage of ASC’s BH-2 scope is the phase annulus ring. There is a ring for each objective magnification

## Slide 31: Phase annulus (below stage)
What’s turning under the hood when you turn the dial

## Slide 32
Phase ring (Above the objective inside the microscope armature)

## Slide 34
Phase contrast subtracts either the deviated or undeviated light using the phase ring and annulus, thereby `turning down’ the background or object light
Bright Field signal = deviated light + undeviated light
Dark field phase contrast = deviated light
(bright objects, dark background)
Bright field phase contrast = undeviated light
(bright background, dark objects)

## Slide 35
ASC’s BH-2 Phase Contrast scope produces destructive interference of undeviated rays to produce `brighter phase’ object images against a darker field.
=> `dark’ field phase object

## Slide 37: Phase resolved biological objects
No phase correction
With phase plate and annulus (bright field phase contrast)

## Slide 38
Normal (no phase) bright field phase contrast

## Slide 39
Rabbit testicle
Bright Field Dark Field Phase Contrast

## Slide 40
Just for fun….the microscopic image guessing game

## Slide 41
What am I ??
Rose petal 100X

## Slide 42
What am I ??
Strawberry seed (20 X??)

## Slide 43
What am I ??
Varnish flake from
Van Gogh painting
Magnification ??

## Slide 44
Mouse colon 740X !
What am I ??

## Slide 45
What am I ??
Rat cerebellum 40X

## Slide 46
What am I ???? 10X magnification

## Slide 47
I give good tongue !

## Slide 48
Microscopy Q & A:
Drill and Practice for Mole $